## Notes
Tab | Contents
Water Samples | Dilution calculations, methods, raw dD water values, and dD values corrected for dilution.
Dilution metheods:
For Harp's and Jamie/Adam's samples, we used a 1-step, 1:1 dilution with SLAP or SUMS standard from X. Feng's lab
For Tristan's +30,000 per mille samples, we did a 2-step, 1:1000 dilution in a milliQ water standard prepared in X. Feng's lab for water isotope dilutions.
First, we added 3 mls of the MQ H2O standard to each empty plastic bottle BEFORE adding the sample to be diluted (this step prevents deuterium from absorbing into the plastic bottles.)
Then we added 200uL sample.
Finally, we added 200mL of the MQ standard.
The "actual amount of standard" column (R) reflects both standard additions.
MQH2O Standard | dD data for 10 runs of the MilliQ water standard created by X. Feng for dilution the +30,000 per mille dD samples

## Water Samples
| VSMOW 2/1R: | 0.00015576 | Intended volumes for dilutions based on estimations of d2H sample and standards | [8 empty] | Actual (measured) masses of sample and standards used for dilution | [7 empty] | dD info from X. Feng Lab, Dartmouth College | [6 empty] | Dilution Corrrections
CH Vial Labes | Vial_label | Sample_name | estimated d2H [permil] sample (undiluted) | estimated F2H [ppm] sample (undiluted) | Amount of sample (µL) | Standard used for dilution | Estimated d2H Standard | estimate F2H [ppm] dilutant | Amount of Standard (mL) | estimated F2H [ppm] sample (diluted) | estimated d2H [permil] sample (diluted) | Ampule of X. Feng's standard used | Empty tube (g) |  | Tube + sample (g) | Tube + sample + std (g) | Actual amount of standard (g) | Actual amount of sample (g) | Notes | Sample ID | Analysis Number | RunDate | dD_SMOW | d 2H/1H Standard Deviation | Comment_SA | Comment | Standard used for dilution | dD of std | mass fraction sample | mass fraction standard | dD_SMOW_corr
Harp's samples
HKB+0 | HKB+0 | DSMZ141 media with MilliQ | -100 | 140.1682 | [15 empty] | WL-HKB+0 | 56551 | 2021-11-19 | -117.5901 | 0.085 |  |  | N/A | N/A | N/A | N/A | N/A
HKB+225 | HKB+225 | DSMZ141 media with MilliQ +225 permil spike | 125 | 175.2041 | 1000 | SUMS (11-07) | -270 | 113.695 | 1 | 144.4496 | -72.5061 | SUMS (11-07) | 2.4659 | N/A | 2.959 | 3.4537 | 0.4947 | 0.4931 | could potentially run undiluted if water standards are available to 350 permil or higher | WL-HKB+225 | 56557 | 2021-11-19 | -85.0069 | 0.204 |  |  | SUMS (11-07) | -270.14 | 0.49919 | 0.50081 | 100.727
HKB+450 | HKB+450 | DSMZ141 media with MilliQ +450 permil spiek | 350 | 210.2376 | 1000 | SPI (13-06) | -370 | 98.1219 | 1 | 154.1797 | -10.0202 | SPI (13-06) | 6.7832 | N/A | 7.7794 | 8.7764 | 0.997 | 0.9962 | could potentially run undiluted if water standards are available to 350 permil or higher | WL-HKB+450 | 56558 | 2021-11-19 | -26.2755 | 0.162 |  |  | SPI (13-06) | -375.32 | 0.4998 | 0.5002 | 323.0494
Jamie/Adam's samples
1266+0 | 1266+0 | DSMZ1266 medium with MQ | -100 | 140.1682 | [15 empty] | WL-1266-C | 56552 | 2021-11-19 | -118.0788 | 0.085 |  | SampleID contains typo, should be "1266+0" instead of "1266-C" | N/A | N/A | N/A | N/A | N/A
1266+225 | 1266+225 | DSMZ1266 medium with +225 permil spike | 125 | 175.2041 | 500 | SUMS (11-07) | -270 | 113.695 | 0.5 | 144.4496 | -72.5061 | SUMS (11-07) | 2.2686 | N/A | 2.7634 | 3.2585 | 0.4951 | 0.4948 | could potentially run undiluted if water standards are available to 350 permil or higher | WL-1266-C+225 | 56555 | 2021-11-19 | -84.194 | 0.095 |  | SampleID contains typo, should be "1266+225" | SUMS (11-07) | -270.14 | 0.49985 | 0.50015 | 101.8647
1266+450 | 1266+450 | DSMZ1255 medium with +450 permil spike | 350 | 210.2376 | 500 | SPI (13-06) | -370 | 98.1219 | 0.5 | 154.1797 | -10.0202 | SPI (13-06) | 6.7945 | N/A | 7.791 | 8.7878 | 0.9968 | 0.9965 | could potentially run undiluted if water standards are available to 350 permil or higher | WL-1266-C+450 | 56556 | 2021-11-19 | -25.9621 | 0.273 |  | SampleID contains typo, should be "1266+450" | SPI (13-06) | -375.32 | 0.49992 | 0.50008 | 323.5009
| Tristan's samples | [11 empty] | Empty tube (g) | Tube + 3 mls MQ std (g) | Tube + 3 mls MQ std + sample (g) | Tube + 3 mls MQ std + sample + 200mls MQ std water(g)
445TAP | 445 TAP | TAC: Natural abundance tap water | 0 | 155.74 | [15 empty] | WL-445TAP | 56554 | 2021-11-19 | -116.959 | 0.135 |  |  | N/A | N/A | N/A | N/A | N/A
445DI | 445 DI | TAC: Natural abundance dionized water | 0 | 155.74 | [15 empty] | WL-445D1 | 56553 | 2021-11-19 | -118.02 | 0.144 |  |  | N/A | N/A | N/A | N/A | N/A
CU-01 | c0F0x | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.2614 | 35.438 | 35.6568 | 235.8 | 203.3198 | 0.2188 |  | WL-CU-01 | 56565 | 2021-11-19 | -30.0373 | 0.104 |  |  | MQ H2O Standard | -59.586 | 0.001075 | 0.99893 | 27428.1048
CU-02 | c0F0y | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.1727 | 35.0529 | 35.2613 | 219.3 | 186.9189 | 0.2084 |  | WL-CU-02 | 56566 | 2021-11-19 | -27.4917 | 0.144 |  |  | MQ H2O Standard | -59.586 | 0.0011137 | 0.99889 | 28758.6135
CU-03 | c0F0z | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.1718 | 35.2266 | 35.4377 | 232 | 199.6171 | 0.2111 |  | WL-CU-03 | 56567 | 2021-11-19 | -30.9612 | 0.08 |  |  | MQ H2O Standard | -59.586 | 0.0010564 | 0.99894 | 27036.7557
CU-04 | c0F3x | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.1465 | 34.9329 | 35.135 | 243.7 | 211.3514 | 0.2021 |  | WL-CU-04 | 56568 | 2021-11-20 | -33.1241 | 0.042 |  |  | MQ H2O Standard | -59.586 | 0.00095531 | 0.99904 | 27640.0555
CU-05 | c0F3y | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.0915 | 35.2423 | 35.4513 | 252.8 | 220.4995 | 0.209 |  | WL-CU-05 | 56569 | 2021-11-20 | -33.3398 | 0.258 |  |  | MQ H2O Standard | -59.586 | 0.00094695 | 0.99905 | 27656.9831
CU-06 | c0F3z | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.3094 | 35.4383 | 35.6443 | 246.7 | 214.1846 | 0.206 |  | WL-CU-06 | 56570 | 2021-11-20 | -32.7245 | 0.221 |  |  | MQ H2O Standard | -59.586 | 0.00096086 | 0.99904 | 27896.0066
CU-07 | c0F7x | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.3122 | 35.2313 | 35.4398 | 257.7 | 225.1793 | 0.2085 |  | WL-CU-07 | 56571 | 2021-11-20 | -34.0219 | 0.091 |  |  | MQ H2O Standard | -59.586 | 0.00092507 | 0.99907 | 27575.1687
CU-08 | c0F7y | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.3066 | 35.7651 | 35.9737 | 236.1 | 203.5848 | 0.2086 |  | WL-CU-08 | 56572 | 2021-11-20 | -35.9833 | 0.193 |  |  | MQ H2O Standard | -59.586 | 0.0010236 | 0.99898 | 22999.2798
CU-09 | c0F7z | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.2949 | 36.0373 | 36.247 | 236.1 | 203.5954 | 0.2097 |  | WL-CU-09 | 56573 | 2021-11-20 | -31.5055 | 0.212 |  |  | MQ H2O Standard | -59.586 | 0.0010289 | 0.99897 | 27231.572
CU-10 | t0F0x | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.1084 | 34.9408 | 35.146 | 233 | 200.6864 | 0.2052 |  | WL-CU-10 | 56574 | 2021-11-20 | -37.7422 | 0.09 |  |  | MQ H2O Standard | -59.586 | 0.0010214 | 0.99898 | 21325.5961
CU-11 | t0F0y | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.2255 | 35.3514 | 35.555 | 232.3 | 199.8709 | 0.2036 |  | WL-CU-11 | 56581 | 2021-11-20 | -37.5009 | 0.287 |  |  | MQ H2O Standard | -59.586 | 0.0010176 | 0.99898 | 21643.1194
CU-12 | t0F0z | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.2725 | 35.2583 | 35.4673 | 234.5 | 202.0185 | 0.209 |  | WL-CU-12 | 56582 | 2021-11-20 | -37.5149 | 0.22 |  |  | MQ H2O Standard | -59.586 | 0.0010335 | 0.99897 | 21296.2698
CU-13 | t0F3x | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.1885 | 35.3247 | 35.5315 | 236.5 | 204.1047 | 0.2068 |  | WL-CU-13 | 56583 | 2021-11-20 | -38.1885 | 0.124 |  |  | MQ H2O Standard | -59.586 | 0.0010122 | 0.99899 | 21080.3932
CU-14 | t0F3y | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.3347 | 35.2832 | 35.4888 | 254.6 | 222.0597 | 0.2056 |  | WL-CU-14 | 56584 | 2021-11-20 | -39.7655 | 0.125 |  |  | MQ H2O Standard | -59.586 | 0.00092502 | 0.99907 | 21367.5171
CU-15 | t0F3z | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.3305 | 35.0193 | 35.224 | 236.2 | 203.6648 | 0.2047 |  | WL-CU-15 | 56585 | 2021-11-20 | -38.0455 | 0.035 |  |  | MQ H2O Standard | -59.586 | 0.0010041 | 0.999 | 21393.5556
CU-16 | t0F7x | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.2959 | 35.306 | 35.5099 | 241.6 | 209.1002 | 0.2039 |  | WL-CU-16 | 56586 | 2021-11-20 | -38.1235 | 0.153 |  |  | MQ H2O Standard | -59.586 | 0.00097418 | 0.99903 | 21971.7281
CU-17 | t0F7y | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.1816 | 35.0583 | 35.2666 | 241.4 | 209.0101 | 0.2083 |  | WL-CU-17 | 56587 | 2021-11-20 | -37.9728 | 0.124 |  |  | MQ H2O Standard | -59.586 | 0.00099561 | 0.999 | 21648.914
CU-18 | t0F7z | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.2192 | 35.2394 | 35.445 | 235.2 | 202.7752 | 0.2056 |  | WL-CU-18 | 56588 | 2021-11-20 | -37.4542 | 0.149 |  |  | MQ H2O Standard | -59.586 | 0.0010129 | 0.99899 | 21790.248
CU-19 | g0F0x | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.1949 | 35.2932 | 35.5003 | 235.1 | 202.698 | 0.2071 |  | WL-CU-19 | 56589 | 2021-11-20 | -31.3164 | 0.267 |  |  | MQ H2O Standard | -59.586 | 0.0010207 | 0.99898 | 27637.4016
CU-20 | g0F0y | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.3374 | 36.3336 | 36.5377 | 241.6 | 209.0585 | 0.2041 |  | WL-CU-20 | 56590 | 2021-11-20 | -32.149 | 0.154 |  |  | MQ H2O Standard | -59.586 | 0.00097533 | 0.99902 | 28071.3916
CU-21 | g0F0z | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.2191 | 35.091 | 35.2953 | 234 | 201.5766 | 0.2043 |  | WL-CU-21 | 56595 | 2021-11-20 | -30.5482 | 0.104 |  |  | MQ H2O Standard | -59.586 | 0.0010125 | 0.99899 | 28620.1954
CU-22 | g0F3x | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.3122 | 36.6759 | 36.8823 | 233.9 | 201.3814 | 0.2064 |  | WL-CU-22 | 56596 | 2021-11-20 | -31.0487 | 0.107 |  |  | MQ H2O Standard | -59.586 | 0.0010239 | 0.99898 | 27812.4094
CU-23 | g0F3y | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.2318 | 34.906 | 35.1097 | 233.3 | 200.8645 | 0.2037 |  | WL-CU-23 | 56597 | 2021-11-20 | -31.1875 | 0.133 |  |  | MQ H2O Standard | -59.586 | 0.0010131 | 0.99899 | 27972.0229
CU-24 | g0F3z | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.2805 | 35.3153 | 35.5148 | 255.9 | 223.42 | 0.1995 |  | WL-CU-24 | 56598 | 2021-11-20 | -34.5908 | 0.318 |  |  | MQ H2O Standard | -59.586 | 0.00089214 | 0.99911 | 27957.4797
CU-25 | g0F7x | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 202 | 151.1967 | -29.1772 | MQ H2O Standard | 32.3363 | 35.4012 | 35.6081 | 246.3 | 213.7568 | 0.2069 |  | WL-CU-25 | 56599 | 2021-11-20 | -32.8365 | 0.227 |  |  | MQ H2O Standard | -59.586 | 0.00096699 | 0.99903 | 27603.1902
CU-26 | g0F7y | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.2887 | 34.9984 | 35.2042 | 235.5 | 203.0055 | 0.2058 |  | WL-CU-26 | 56600 | 2021-11-20 | -31.5825 | 0.151 |  |  | MQ H2O Standard | -59.586 | 0.0010127 | 0.99899 | 27591.6298
CU-27 | g0F7z | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.4103 | 35.553 | 35.7585 | 237.1 | 204.4842 | 0.2055 |  | WL-CU-27 | 56601 | 2021-11-20 | -31.4399 | 0.223 |  |  | MQ H2O Standard | -59.586 | 0.001004 | 0.999 | 27975.5218
CU-28 | cr0F0x | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.3325 | 35.4413 | 35.6473 | 256.5 | 223.9615 | 0.206 |  | WL-CU-28 | 56602 | 2021-11-20 | -32.3086 | 0.154 |  |  | MQ H2O Standard | -59.586 | 0.00091896 | 0.99908 | 29623.4966
CU-29 | cr0F0y | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.1928 | 35.2553 | 35.4603 | 230.1 | 197.7022 | 0.205 |  | WL-CU-29 | 56603 | 2021-11-20 | -28.3815 | 0.203 |  |  | MQ H2O Standard | -59.586 | 0.0010358 | 0.99896 | 30065.2347
CU-30 | cr0F0z | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.2701 | 35.0879 | 35.2943 | 234.4 | 201.9235 | 0.2064 |  | WL-CU-30 | 56604 | 2021-11-20 | -29.098 | 0.079 |  |  | MQ H2O Standard | -59.586 | 0.0010211 | 0.99898 | 29797.6592
CU-31 | cr0F3x | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.2314 | 35.0356 | 35.216 | 252.9 | 220.4882 | 0.1804 |  | WL-CU-31 | 56640 | 2021-11-21 | -34.6679 | 0.218 |  |  | MQ H2O Standard | -59.586 | 0.00081752 | 0.99918 | 30420.7454
CU-32 | cr0F3y | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.2228 | 35.4083 | 35.6147 | 250.1 | 217.6708 | 0.2064 |  | WL-CU-32 | 56645 | 2021-11-21 | -31.1583 | 0.108 |  |  | MQ H2O Standard | -59.586 | 0.00094732 | 0.99905 | 29948.8963
CU-33 | cr0F3z | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.2707 | 35.2411 | 35.4454 | 243.9 | 211.425 | 0.2043 |  | WL-CU-33 | 56646 | 2021-11-21 | -30.644 | 0.141 |  |  | MQ H2O Standard | -59.586 | 0.00096537 | 0.99903 | 29920.7374
CU-34 | cr0F7x | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.2001 | 36.3564 | 36.5565 | 251.4 | 218.9998 | 0.2001 |  | WL-CU-34 | 56647 | 2021-11-21 | -31.4609 | 0.08 |  |  | MQ H2O Standard | -59.586 | 0.00091287 | 0.99909 | 30750.0499
CU-35 | cr0F7y | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.262 | 35.2492 | 35.45 | 230.2 | 197.7372 | 0.2008 |  | WL-CU-35 | 56648 | 2021-11-21 | -27.9034 | 0.15 |  |  | MQ H2O Standard | -59.586 | 0.0010145 | 0.99899 | 31171.4459
CU-36 | cr0F7z | TAC: enriched soil water (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.3763 | 35.461 | 35.6661 | 235.6 | 203.0186 | 0.2051 |  | WL-CU-36 | 56649 | 2021-11-21 | -29.0189 | 0.233 |  |  | MQ H2O Standard | -59.586 | 0.0010092 | 0.99899 | 30227.9218
CU-37 | Soil Label | TAC: enriched isotope label (~0.5% 2H) | 31253.7 | 4998.8609 | 200 | MQ H2O | -60 | 146.397 | 200 | 151.2446 | -28.8693 | MQ H2O Standard | 32.1407 | 35.4578 | 35.6589 | 245 | 212.6582 | 0.2011 |  | WL-CU-37 | 56650 | 2021-11-21 | -29.9047 | 0.153 |  |  | MQ H2O Standard | -59.586 | 0.00094476 | 0.99906 | 31357.3407
[8 empty] | Volume of MQ H2O needed (ml) | 7402
Note on D1: to fill out for sample prep
Note on M1: to fill out during actual sample dilution
Note on O11: Carrie Harris: For Tristan's +30,000 per mille samples, we did a 2-step dilution. First, we added 3 mls of a MQ H2O standard to each empty plastic bottle BEFORE adding the sample to be diluted. We did tthis to prevent deuterium from absorbing into the plastic bottles. Then we added 200uL sample. Finally, we added ~200mL of MQ standard. The "actual amount of standard" column (R) reflects both standard additions.

## MQ H2O Standard
Run Name | Sample ID | Analysis Number | RunDate | dD_SMOW | d 2H/1H Standard Deviation | Comment_SA | Comment
MQH2O-01 | WL-MQH2O-01 | 56498 | 2021-11-18 | -59.7614 | 0.172
MQH2O-02 | WL-MQH2O-02 | 56499 | 2021-11-18 | -59.9336 | 0.124
MQH2O-03 | WL-MQH2O-03 | 56500 | 2021-11-18 | -59.1754 | 0.14
MQH2O-04 | WL-MQH2O-04 | 56501 | 2021-11-18 | -59.4762 | 0.101
MQH2O-05 | WL-MQH2O-05 | 56491 | 2021-11-18 | -59.7516 | 0.209 | New Cr | QA_H changed to 1 after QC
MQH2O-06 | WL-MQH2O-06 | 56559 | 2021-11-19 | -59.7456 | 0.115
MQH2O-07 | WL-MQH2O-07 | 56560 | 2021-11-19 | -59.5149 | 0.111
MQH2O-08 | WL-MQH2O-08 | 56651 | 2021-11-21 | -59.4358 | 0.067
MQH2O-09 | WL-MQH2O-09 | 56652 | 2021-11-21 | -59.4398 | 0.113
MQH2O-10 | WL-MQH2O-10 | 56653 | 2021-11-21 | -59.6251 | 0.153