## summary
pame_n | pame_mean | pame_sd
8 | -69.769 | 2.2736

## data
type | compound | is_std_peak | file_id | analysis | file_datetime | sample_id | peak_info | peak_type | ref_nr | calib_peak | peak_nr | is_ref | rt_start.s | rt | rt_end.s | amp2.V | amp3.V | bgrd2_start.V | bgrd3_start.V | bgrd2_end.V | bgrd3_end.V | area2.Vs | area3.Vs | r3/2 | rd3/2.permil | d3/2.permil | d2H.permil | at2H.% | n_overlapping | n_matches | is_identified | is_ambiguous | ref_ratio_at_rt | d2H_vs_H2 | rel_area | mean_area.Vs | mean_area_identified.Vs | sd_area_identified | mean_amp_identified.V | contaminants | true_d2H.permil | true_d13C | d2H_in_calib | d2H_resid | true_d2H_pred.permil | true_d2H_pred_se.permil | d2H_in_range | d2H_calib | d2H_calib_points | d2H_calib_params
pame | PAME | FALSE | BF12754__PAME_1-100_TAC_dup1__100ng@ul.dxf | 12754 | 2022-01-18 22:38 | PAME_1-100_TAC | PAME (735.3) | analyte |  |  | 15 | 0 | 728.365 | 735.262 | 745.503 | 0.90296 | 0.29002 | 0.23544 | 0.10474 | 0.23544 | 0.10474 | 4.139 | 1.33 | 0.32134 | 979.8699 | 524.4998 | 524.4998 | 0.023738 | 1 | 1 | TRUE | FALSE | 0.16247 | 977.7894 | 0.48503 | 1.7067 | 4.139 |  | 0.90296 |  |  |  | FALSE |  | -64.8884 | 4.0125 | <'area2' range, >'true_d2H_pred' range | calib | 64 | (Intercept), true_d2H, 1114.16964505811, 2.10176580995595, 7.31816537148524, 0.0358340231136605, 152.247125953098, 58.6528005323167, 0.00000000000000000000000000000000000000000000000000000000000000000000000000000000163941806957487, 0.0000000000000000000000000000000000000000000000000000000498323098513406, *** (p < 0.001), *** (p < 0.001), 0.982296594345035, 0.982011055544148, 6.77963050118092, 3440.15101028373, 0.0000000000000000000000000000000000000000000000000000000498323098513406, 1, -212.287154314477, 430.574308628954, 437.050957879033, 2849.73016341765, 62, 64, area2, true_d2H_pred, Vs, permil, 11.0023109987633, -237.729607750633, 30.8961949689945, -163.021438538603
pame | PAME | FALSE | BF12755__PAME_1-10_TAC_dup1__1ug@10ul.dxf | 12755 | 2022-01-18 23:25 | PAME_1-10_TAC | PAME (745.5) | analyte |  |  | 13 | 0 | 728.574 | 745.503 | 760.133 | 3.7376 | 1.2749 | 0.23626 | 0.1054 | 0.23626 | 0.1054 | 37.1715 | 11.8439 | 0.31863 | 962.789 | -77.4892 | -77.4892 | 0.014366 | 1 | 1 | TRUE | FALSE | 0.16249 | 960.872 | 0.86729 | 7.1433 | 37.1715 |  | 3.7376 |  |  |  | FALSE |  | -72.9375 | 3.9336 | >'area2' range, >'true_d2H_pred' range | calib | 64 | (Intercept), true_d2H, 1114.16964505811, 2.10176580995595, 7.31816537148524, 0.0358340231136605, 152.247125953098, 58.6528005323167, 0.00000000000000000000000000000000000000000000000000000000000000000000000000000000163941806957487, 0.0000000000000000000000000000000000000000000000000000000498323098513406, *** (p < 0.001), *** (p < 0.001), 0.982296594345035, 0.982011055544148, 6.77963050118092, 3440.15101028373, 0.0000000000000000000000000000000000000000000000000000000498323098513406, 1, -212.287154314477, 430.574308628954, 437.050957879033, 2849.73016341765, 62, 64, area2, true_d2H_pred, Vs, permil, 11.0023109987633, -237.729607750633, 30.8961949689945, -163.021438538603
pame | PAME | FALSE | BF12756__PAME_1-10_TAC_dup1_successful method_1ug@10ul.dxf | 12756 | 2022-01-19 00:31 | PAME_1-10_TAC | PAME (744.7) | analyte |  |  | 13 | 0 | 728.156 | 744.667 | 759.297 | 3.4979 | 1.1837 | 0.2358 | 0.10554 | 0.2358 | 0.10554 | 33.7546 | 10.792 | 0.31972 | 971.2325 | 517.849 | 517.849 | 0.023635 | 1 | 1 | TRUE | FALSE | 0.16234 | 969.4588 | 0.86161 | 6.5294 | 33.7546 |  | 3.4979 |  |  |  | FALSE |  | -68.852 | 3.9733 | >'area2' range, >'true_d2H_pred' range | calib | 64 | (Intercept), true_d2H, 1114.16964505811, 2.10176580995595, 7.31816537148524, 0.0358340231136605, 152.247125953098, 58.6528005323167, 0.00000000000000000000000000000000000000000000000000000000000000000000000000000000163941806957487, 0.0000000000000000000000000000000000000000000000000000000498323098513406, *** (p < 0.001), *** (p < 0.001), 0.982296594345035, 0.982011055544148, 6.77963050118092, 3440.15101028373, 0.0000000000000000000000000000000000000000000000000000000498323098513406, 1, -212.287154314477, 430.574308628954, 437.050957879033, 2849.73016341765, 62, 64, area2, true_d2H_pred, Vs, permil, 11.0023109987633, -237.729607750633, 30.8961949689945, -163.021438538603
pame | PAME | FALSE | BF12757__PAME_1-10_TAC_dup2_successful method_1ug@10ul.dxf | 12757 | 2022-01-19 01:14 | PAME_1-10_TAC | PAME (747) | analyte |  |  | 13 | 0 | 728.156 | 746.966 | 760.76 | 4.1484 | 1.4278 | 0.23926 | 0.10728 | 0.23926 | 0.10728 | 44.7412 | 14.2795 | 0.31916 | 967.4336 | 514.9239 | 514.9239 | 0.023589 | 1 | 1 | TRUE | FALSE | 0.16233 | 966.0997 | 0.85279 | 7.4949 | 44.7412 |  | 4.1484 |  |  |  | FALSE |  | -70.4503 | 3.9577 | >'area2' range, >'true_d2H_pred' range | calib | 64 | (Intercept), true_d2H, 1114.16964505811, 2.10176580995595, 7.31816537148524, 0.0358340231136605, 152.247125953098, 58.6528005323167, 0.00000000000000000000000000000000000000000000000000000000000000000000000000000000163941806957487, 0.0000000000000000000000000000000000000000000000000000000498323098513406, *** (p < 0.001), *** (p < 0.001), 0.982296594345035, 0.982011055544148, 6.77963050118092, 3440.15101028373, 0.0000000000000000000000000000000000000000000000000000000498323098513406, 1, -212.287154314477, 430.574308628954, 437.050957879033, 2849.73016341765, 62, 64, area2, true_d2H_pred, Vs, permil, 11.0023109987633, -237.729607750633, 30.8961949689945, -163.021438538603
pame | PAME | FALSE | BF12758__PAME_1-10_TAC_dup3_successful method_1ug@10ul.dxf | 12758 | 2022-01-19 01:57 | PAME_1-10_TAC | PAME (747) | analyte |  |  | 13 | 0 | 728.156 | 746.966 | 760.969 | 4.1624 | 1.4343 | 0.24052 | 0.10811 | 0.24052 | 0.10811 | 45.0277 | 14.3715 | 0.31917 | 969.2069 | 516.2893 | 516.2893 | 0.023611 | 1 | 1 | TRUE | FALSE | 0.16227 | 966.8781 | 0.85329 | 7.5385 | 45.0277 |  | 4.1624 |  |  |  | FALSE |  | -70.0799 | 3.9613 | >'area2' range, >'true_d2H_pred' range | calib | 64 | (Intercept), true_d2H, 1114.16964505811, 2.10176580995595, 7.31816537148524, 0.0358340231136605, 152.247125953098, 58.6528005323167, 0.00000000000000000000000000000000000000000000000000000000000000000000000000000000163941806957487, 0.0000000000000000000000000000000000000000000000000000000498323098513406, *** (p < 0.001), *** (p < 0.001), 0.982296594345035, 0.982011055544148, 6.77963050118092, 3440.15101028373, 0.0000000000000000000000000000000000000000000000000000000498323098513406, 1, -212.287154314477, 430.574308628954, 437.050957879033, 2849.73016341765, 62, 64, area2, true_d2H_pred, Vs, permil, 11.0023109987633, -237.729607750633, 30.8961949689945, -163.021438538603
pame | PAME | FALSE | BF12759__PAME_1-10_TAC_dup4_successful method_1ug@10ul.dxf | 12759 | 2022-01-19 02:40 | PAME_1-10_TAC | PAME (747) | analyte |  |  | 13 | 0 | 728.156 | 746.966 | 760.76 | 4.137 | 1.4191 | 0.24041 | 0.10855 | 0.24041 | 0.10855 | 44.335 | 14.1423 | 0.31899 | 969.7954 | 516.7424 | 516.7424 | 0.023618 | 1 | 1 | TRUE | FALSE | 0.16222 | 966.4351 | 0.85385 | 7.4177 | 44.335 |  | 4.137 |  |  |  | FALSE |  | -70.2907 | 3.9592 | >'area2' range, >'true_d2H_pred' range | calib | 64 | (Intercept), true_d2H, 1114.16964505811, 2.10176580995595, 7.31816537148524, 0.0358340231136605, 152.247125953098, 58.6528005323167, 0.00000000000000000000000000000000000000000000000000000000000000000000000000000000163941806957487, 0.0000000000000000000000000000000000000000000000000000000498323098513406, *** (p < 0.001), *** (p < 0.001), 0.982296594345035, 0.982011055544148, 6.77963050118092, 3440.15101028373, 0.0000000000000000000000000000000000000000000000000000000498323098513406, 1, -212.287154314477, 430.574308628954, 437.050957879033, 2849.73016341765, 62, 64, area2, true_d2H_pred, Vs, permil, 11.0023109987633, -237.729607750633, 30.8961949689945, -163.021438538603
pame | PAME | FALSE | BF12760__PAME_1-10_TAC_dup5_successful method_1ug@10ul.dxf | 12760 | 2022-01-19 03:23 | PAME_1-10_TAC | PAME (747) | analyte |  |  | 13 | 0 | 728.156 | 746.966 | 760.76 | 4.12 | 1.4095 | 0.24073 | 0.10825 | 0.24073 | 0.10825 | 43.8652 | 13.9866 | 0.31885 | 969.2354 | 516.3113 | 516.3113 | 0.023611 | 1 | 1 | TRUE | FALSE | 0.16218 | 966.1051 | 0.88877 | 8.2258 | 43.8652 |  | 4.12 |  |  |  | FALSE |  | -70.4477 | 3.9577 | >'area2' range, >'true_d2H_pred' range | calib | 64 | (Intercept), true_d2H, 1114.16964505811, 2.10176580995595, 7.31816537148524, 0.0358340231136605, 152.247125953098, 58.6528005323167, 0.00000000000000000000000000000000000000000000000000000000000000000000000000000000163941806957487, 0.0000000000000000000000000000000000000000000000000000000498323098513406, *** (p < 0.001), *** (p < 0.001), 0.982296594345035, 0.982011055544148, 6.77963050118092, 3440.15101028373, 0.0000000000000000000000000000000000000000000000000000000498323098513406, 1, -212.287154314477, 430.574308628954, 437.050957879033, 2849.73016341765, 62, 64, area2, true_d2H_pred, Vs, permil, 11.0023109987633, -237.729607750633, 30.8961949689945, -163.021438538603
pame | PAME | FALSE | BF12761__PAME_1-10_TAC_dup6_successful method_1ug@10ul.dxf | 12761 | 2022-01-19 04:06 | PAME_1-10_TAC | PAME (747.4) | analyte |  |  | 13 | 0 | 728.365 | 747.384 | 760.969 | 4.2327 | 1.4573 | 0.24129 | 0.10894 | 0.24129 | 0.10894 | 46.4647 | 14.8263 | 0.31909 | 969.5234 | 516.533 | 516.533 | 0.023614 | 1 | 1 | TRUE | FALSE | 0.16225 | 966.6144 | 0.86801 | 7.6472 | 46.4647 |  | 4.2327 |  |  |  | FALSE |  | -70.2054 | 3.9601 | >'area2' range, >'true_d2H_pred' range | calib | 64 | (Intercept), true_d2H, 1114.16964505811, 2.10176580995595, 7.31816537148524, 0.0358340231136605, 152.247125953098, 58.6528005323167, 0.00000000000000000000000000000000000000000000000000000000000000000000000000000000163941806957487, 0.0000000000000000000000000000000000000000000000000000000498323098513406, *** (p < 0.001), *** (p < 0.001), 0.982296594345035, 0.982011055544148, 6.77963050118092, 3440.15101028373, 0.0000000000000000000000000000000000000000000000000000000498323098513406, 1, -212.287154314477, 430.574308628954, 437.050957879033, 2849.73016341765, 62, 64, area2, true_d2H_pred, Vs, permil, 11.0023109987633, -237.729607750633, 30.8961949689945, -163.021438538603